## UL58 Single Wall & Type II
TANK CALCULATIONS SINGLE WALL (& TYPE ll) USING UL58
NUMBER OF STIFFENERS
BURIAL DEPTH, FT. |  |  | 1 | 2
TANK CAPACITY, Gal. |  |  | 0 | 0
TANK DIAMETER, in. |  |  | 0 | 0
TANK LENGTH, ft. |  | #DIV/0! | #DIV/0! | #DIV/0!
TANK THICKNESS, in. |  | #DIV/0! | #DIV/0! | #DIV/0!
M OF I reqd, in4 |  | NA | #DIV/0! | #DIV/0!
L/D |  | #DIV/0! | #DIV/0! | #DIV/0!
Input Cells
Output Cells
Nonconforming Result
Primary min thickness=0.123 in.

## UL 58 Metric SW & Type II
TANK CALCULATIONS SINGLE WALL (& TYPE ll) USING UL58
NUMBER OF STIFFENERS
BURIAL DEPTH, meters |  |  | 1 | 2
TANK CAPACITY, liters |  |  | 0 | 0
TANK DIAMETER, meters |  |  | 0 | 0
TANK LENGTH, meters |  | #DIV/0! | #DIV/0! | #DIV/0!
TANK THICKNESS, mm |  | #DIV/0! | #DIV/0! | #DIV/0!
M OF I reqd, cm4 |  | NA | #DIV/0! | #DIV/0!
L/D |  | #DIV/0! | #DIV/0! | #DIV/0!
Input Cells
Output Cells
Nonconforming Result
Primary min thickness = 3.12 mm

## UL 58 Double Wall & Type I
TANK CALCULATIONS DOUBLE WALL TYPE I USING UL58
NUMBER OF STIFFENERS
BURIAL DEPTH, ft. |  |  |  | 1 |  | 2
TANK CAPACITY, Gal. |  |  |  | 0 |  | 0
TANK DIAMETER, in. |  |  |  | 0 |  | 0
TANK LENGTH, ft. |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Tequiv, in. |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
M OF I reqd, in4 |  | N/A |  | #DIV/0! |  | #DIV/0!
L/D |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Tpri, in. |  |  | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Tsec, in. |  | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! | 0
Input Cells
Output Cells
Nonconforming Result
Primary min thickness=0.123 in.
Secondary min thickness =0.093 in.

## UL 58 Metric DW & Type I
TANK CALCULATIONS DOUBLE WALL TYPE I USING UL58
NUMBER OF STIFFENERS
BURIAL DEPTH, meters |  |  |  | 1 |  | 2
TANK CAPACITY, liters |  |  |  | 0 |  | 0
TANK DIAMETER, meters |  |  |  | 0 |  | 0
TANK LENGTH, meters |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Tequiv, mm |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
M OF I reqd, cm4 |  | NA |  | #DIV/0! |  | #DIV/0!
L/D |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Tpri |  |  | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0!
Tsec |  | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! | 0
Input Cells
Output Cells
Nonconforming Result
Primary min thickness = 3.12 mm
Secondary min thickness = 2.36mm

## UL58 Formulas (hidden)
Single Wall Calculations
|  |  | Head |  |  | Buckling |  |  | CALCULATED
Length, in. | Radius, in | T | Pressure | Elasticity | U | Pressure | Delta-P | Length, in. | Galllons | Thickness, in. | L/D | Radius
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Diameter, in. | Gallons | Area, in2 | Length, ft. | Radius, in | L/D | Thickness, in
0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! |  |  | #DIV/0!
0 | 0 | 0 | #DIV/0! |  |  | #DIV/0!
1 STIFFENER
MULT. GAL TIMES 0.80
2 STIFFENERS
MULT. GAL BY .7143
Single Wall Metric Calculations
|  |  | Head |  |  | Buckling |  |  | CALCULATED
Length, in. | Radius, in | T | Pressure | Elasticity | U | Pressure | Delta-P | Length, in. | Galllons | Thickness, in. | L/D | Radius
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Diameter, in. | Gallons | Area, in2 | Length, ft. | Radius, in | L/D | Thickness, in
0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! |  |  | #DIV/0!
0 | 0 | 0 | #DIV/0! |  |  | #DIV/0!
1 STIFFENER
MULT. GAL TIMES 0.80
2 STIFFENERS
MULT. GAL BY .7143
CONVERSIONS
Burial Depth, in. |  | 0
Tank Capacity, Gal |  | 0
Tank Diameter, in. |  | 0
Double Wall Calculations
|  |  | Head |  |  | Buckling |  |  | CALCULATED
Length, in. | Radius, in. | T | Pressure | Elasticity | U | Pressure | Delta-P | Length, in. | Gallons | Thickness, in. | L/D | Radius, In
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Diameter, in. | Gallons | Area, in2 | Length, ft. | Radius, in. | L/D | Thickness, in.
0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! |  |  | #DIV/0!
0 | 0 | 0 | #DIV/0! |  |  | #DIV/0!
Tp | Ts | T equiv |  | 1 STIFFENER
0.123 | 0.093 | 0.14455 |  | MULT. GAL TIMES 0.80
Te | T1 | T2 |  | 2 STIFFENERS
#DIV/0! | 0 | #DIV/0! |  | MULT. GAL BY .7143
Double Wall Metric Calculations
|  |  | Head |  |  | Buckling |  |  | CALCULATED
Length, in. | Radius, in. | T | Pressure | Elasticity | U | Pressure | Delta-P | Length, in. | Gallons | Thickness, in. | L/D | Radius, In
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | 0 |  | 0 | 29500000 | 0.287 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Diameter, in. | Gallons | Area, in2 | Length, ft. | Radius, in. | L/D | Thickness, in.
0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0!
0 | 0 | 0 | #DIV/0! |  |  | #DIV/0!
0 | 0 | 0 | #DIV/0! |  |  | #DIV/0!
Tp | Ts | T equiv |  | 1 STIFFENER
3.1242 | 2.3622 | 3.6715 |  | MULT. GAL TIMES 0.80
Te | Tpri | Tsec |  | 2 STIFFENERS
#DIV/0! | 0 | #DIV/0! |  | MULT. GAL BY .7143
#DIV/0! | #DIV/0! | 0
CONVERSIONS
Burial Depth, ft. | 0
Tank Capacity, Gal. | 0
Tank Diameter, in. | 0
Tequiv, in. | #DIV/0!
T1, in. | 0
Tsec, in. | 0